## Input Form
Buy vs. Repair Facility Capital Asset Analysis | Sapient Services, LLC © 2014
(Replacing function for function)
Date of analysis | 2013-09-19
Asset Name | Chiller #2
Location | San Francisco
Initial Cost | 300000
Date of Installation (month/year) | 1996-08-01
Asset Lifetime (months) | 180
Efficiency Rating? (if has one) | 83%
Energy costs/year (if known) | 33000
Aggregated Annual Programmed Maintenance Costs | 2250 | Notes: | Three quarterlies and one Annual maintenance
Aggregated Repair Costs to Date | 11650 | Notes: | replaced compressor 4/02
Projected Repair Costs | 65000 | Notes: | Need to Replace condenser unit
Does Projected Repair Extend Life? | yes
How much (months)? | 36
Has unit become un-repairable? | no
Replacement Cost | 425000
New Asset Lifetime (months) | 180
Efficiency Rating? (if has one) | 97%
Estimated Aggregated Annual Programmed Maintenance Costs | 2250 | Notes: | Three quarterlies and one annual maintenance
Estimated Aggregated Repair Costs for Lifetime | 11200 | Notes: | Data from vendor
Current Asset Cost/Month proposed (total ownership) | 2739.6976
Replacement Asset Estimated Cost/Month (total ownership) | 2225.8333
Should you repair or replace? | REPLACE

## Calculations and constants
Rate of Inflation | 2.5% | Aggregate of the past 15 or so years….do not change
Number of years: | 17.1452 | Used in FV calcs
Number of months in operation | 205.7425
Early asset retirement penalty | 0 | If you are retiring an asset before it's expected lifetime the residual value is represented as a cost in the new asset.
Number of months to use in equations | 205.7425 | For most either the expected life or actual…this chooses which is larger
Initial Cost to today's value: | 458125.146 | Value of initial asset investment in today's money (used for comparisons)
Current Monthly cost (straightline depreciation) | 2226.6922 | Today's value over the expected or actual lifetime of the asset
New Asset Monthly Cost (SLD) | 2361.1111 | The replacement's cost represented as straightline depeciation over expected lifetime
Adjustment for efficiency delta (if any) | -385 | Must know energy costs/year for unit, calculates cost savings/month due to greater or lessor efficiencies
Adjusted New Asset Monthly Cost (SLD) | 1976.1111 | Adjusted taking in affect of differences in efficiencies
Current Asset Lifetime Monthly Cost | 2470.8164 | Total with depreciation + programmed costs + actual repair to date
Projected Asset Lifetime Monthly Cost w/repairs | 2739.6976 | Above with added for new repair costs
New Asset Est. Lifetime Monthly Cost | 2225.8333 | Total with depreciation + programmed costs + actual repair to date
New Asset Est. Lifetime Monthly Cost w/early penalty | 2225.8333 | Above with early asset retirement penalty if required